SECTION 03 40 00

PRECAST CONCRETE

Specifier Note: This specification is intended to address the use of cast-in anchor channel for safety-related applications, such as structural connections, earthquake bracing, guard rails, mechanical and electrical equipment support, piping and ductwork support and bracing, cladding and façade connections, or rebar doweling.

# PART 1 – GENERAL

  - SUMMARY

    - Supply of anchor channels used to connect construction members

Specifier Note: Revise paragraph below to suit project requirements. Add/delete section numbers and titles per project requirements and specifier’s practice.

    - Related Sections:

- Concrete 				03000

- Concrete Accessories 			03150

- Precast Concrete			03400

- Masonry Accessories		 	04090

- Stone 					04400

- Metal Fabrication 			05500

- Curtain Wall and Glazed Assemblies	08900

- Tunnel Construction 			31740

    - References

- American Concrete Institute (ACI)

- American Institute of Steel Construction (AISC)

- American Society of Civil Engineers (ASCE)

- American Society for Testing and Materials (ASTM)

- Cement Association of Canada (CAC)

- Canadian Institute of Steel Construction (CISC)

- Canadian Society for Civil Engineering (CSCE)

- Canadian Standards Association (CSA)

- International Building Code (IBC)

- European Technical Approval (ETA)

- International Code Council - Evaluation Service Report

  - SUBMITTALS

Specifier Note: Insert appropriate section for the project as referred to below for shop drawings or submittals.

    - General: Submit in accordance with Conditions of the Contract and Division 1 Submittal Procedures Section.

- Product Data: Submit size and strength capacity information for each anchor channel profile specified in the contract drawings

- Shop Drawings:

a. Placement Drawings: Submit drawings showing the anchor channel layout and locations required.

b. Structural calculations: Submit manufacturer-provided technical manual and calculation software based on internationally recognized design provisions as referenced in section 1.01 to support the Project Engineer in designing the anchor channels.

- Submit an evaluation report demonstrating compliance with the 2012 or later International Building Code for cast-in channel used to resist loading in three load directions

        - Tension load

        - Shear load (perpendicular to the channel axis)

        - Longitudinal load (parallel to the channel axis)

- Samples: Representative length and diameters of each type anchor channel shown on the drawings.

- Quality Assurance Submittals:

          - ICC-ES Evaluation Report showing conformance with current applicable ICC AC232 Acceptance Criteria

          - Certificate of Compliance showing compliance of the anchor channel to manufacturer’s published technical specifications

- Manufacturer’s installation instructions

  - QUALITY AND ASSURANCE

    - Manufacturer must have experience in anchoring technology.

    - Manufacturer shall follow a documented quality assurance program and be ISO 9001 and ISO 14001 certified.

    - Manufacturer’s published anchor channel strengths to be confirmed by an independent third-party testing agency.

    - Certifications: Unless otherwise authorized by the Engineer, anchor channels shall have one of the following certifications:

      - ICC-ES Evaluation Report showing conformance with current applicable ICC AC232 Acceptance Criteria

      - Certificate of Compliance showing compliance of the anchor channel to manufacturer’s  published technical specifications

  - DELIVERY, STORAGE AND HANDLING

    - Anchor channels and accessories must be packaged appropriately to help prevent loss or damage during transport

    - All materials received on the jobsite must be stored in a secure and dry location prior to installation

# PART 2 – PRODUCTS

  - MANUFACTURERS

    - Cast-in Anchor Channels and accessories shall be manufactured by:

      - Hilti Corp, and supplied in the US by Hilti, Inc., Plano, TX,  phone (800) 879-6000; and in Canada by Hilti (Canada) Corp, Mississauga, Ontario, (800) 363-4458

      - Jordahl DKG and supplied in the US by Decon USA Inc. (707) 996-5954 and in Canada by Continental Decon Inc., (800) 363-3266

      - Halfen Anchoring Systems, Converse, TX, phone (800) 323-6896

  - MATERIALS

- Anchor channels shall consist of either cold formed V-form profile or hot rolled steel channel profiles with round steel anchors mechanically attached to the back of the channel. “L-shaped” anchors securely attached to the back of the channel with fillet welds are also acceptable. The cold formed profiles are made of carbon steel conforming to ASTM A283 Grade C with a minimum yield strength of 30,000psi. The hot rolled profiles conform to ASTM A1011 with a minimum yield strength of 33,000psi. The round anchors must conform to ASTM A108.

- The anchor channels shall be protected by a hot dipped galvanized finish, or be stainless steel. Hot dipped galvanizing shall be in accordance to ISO 1461 with minimum thickness of 45 μm or be in accordance with ASTM A123. Stainless steel materials shall conform to stainless steel A4 grade 50.

- T-bolts shall be used to fasten a metal or concrete member to the anchor channel. These bolts shall be designed to meet the manufacturer’s published strengths. The T-bolts must show a mark on the screw indication proper engagement into the channel.

- Finishes:

            - Hot dipped galvanizing of anchor channels shall be in accordance to ISO 1461 with minimum thickness of 45 μm or conform to ASTM A123.

            - Hot dipped galvanized T-bolts shall be in accordance to ISO 1461 with minimum thickness of 45 μm or conform to ASTM A153.

            - Zinc electroplated T-bolts shall have a coating thickness ≥ 8 μm or conform to ASTM B633 or EN ISO 4042, A3K.

- End caps and a LDPE closed-cell foam filler with integrated tear-out strip shall be placed in the channel profile to help prevent concrete from seeping into the channel.

- Anchor channel fabrication tolerances are ± 3mm for lengths of 300mm or less and ± 6mm for lengths >300mm.

- Anchor channels and components may be produced according to different international standards if they meet or exceed the standards shown above.

# PART 3 – EXECUTION

3.01      INSTALLATION

- The manufacturer’s instructions must be followed to install the anchor channels properly on the formwork.

- Installer shall affix anchor channels in required locations before concrete is poured. Concrete shall be applied in a continuous pour for each anchor channel, ensuring complete coverage with no voids or gaps, and flush with the outer face of the anchor channel. The appropriate T-bolt shall be used to connect the specified metal or concrete member to the anchor channel after the concrete is cured.  The specified torque shall be applied to the T-bolt as listed in the manufacturer’s installation instructions

- Only the correct type of T-bolts supplied by the anchor channel manufacturer may be used to fasten a metal or concrete member to the anchor channel. The T-bolts are designed to meet the strength limits published by the manufacturer. The setting mark must show proper T-Bolt engagement in the channel

- No alteration, such as cutting or bending, is permitted of anchor channel legs.  Channel may be cut to size only if permitted by manufacturer and performed in accordance with its published instructions

3.02       REPAIR OF DEFECTIVE WORK

- Installer shall protect anchor channel and accessories from damage.

END OF SECTION